REPUBLIC OF THE PHILIPPINES

EMBASSY OF THE PHILIPPINES

BANGKOK, THAILAND

REQUEST FOR QUOTATION

The Philippine Embassy in Bangkok, Thailand intends to engage the consultancy services of a company with experience in conducting soil assessment for its properties located along Sukhumvit Road in Bangkok.

| Name of Project | : | Consultancy Services on Soil Assessment of the Philippine Embassy for CY 2018 |
| --- | --- | --- |
| Location | : | Philippine Embassy Grounds, 760 Sukhumvit Road corner Soi Philippines (30/1) Bangkok, 10110, Thailand |
| Specifications | : | See attached Annex A for complete technical specifications. |
| Approved budget | : | Not to exceed THB 300,000.00 (the equivalent of the approved budget of PHP 425,270.27) |

Please submit a signed quotation and indicate your acceptance of the attached specifications for the procurement. The Embassy accepts quotations submitted directly or by facsimile or email at the following address and fax numbers:

- 760 Sukhumvit Road corner Soi Philippines (30/1), Bangkok 10110, Thailand

- Fax nos. +662 259809/2597373

- Email: bkkpe.bac@gmail.com

The deadline for submission of quotations is at 5:00 pm of 28 September 2018. For inquiries, you may contact the Embassy at TeleFax no. +662 2590139 ext. 129.

Very truly yours,

JUAN CARLOS C. BORROMEO

Head, Bids and Awards Committee Secretariat

24 September 2018

Annex “A”

PRICE QUOTATION FORM

(DATE)

Philippine Embassy, Bangkok

760 Sukhumvit Road corner Soi Philippines (30/1)

Bangkok 10110, Thailand

Sir/Madam:

After having carefully read and accepted the terms and conditions in the Request for Quotation, hereunder is our quotation/s for the item/s as follows:

| Technical Specifications for the Soil Assessment of the Philippine Embassy for CY 2018 | Statement of Compliance |
| --- | --- |
| The Consultant/Contractor shall provide all the labor, instrument/equipment materials and supplies, vehicles, bunkhouses, etc., necessary to perform satisfactory the sub-surface exploration herein required: - Field Works - Laboratory Testing - Soil Investigation and Preparation of Report - Geotechnical Evaluation Report The Consultant/Contractor shall be held solely responsible for the result of this boring/drilling exploration and other activities under this Terms of Reference. |  |
| The preparation of samples for testing shall be made in accordance with Thai Department of Land Transport and Department of Highways. The following tests shall be made on samples obtained from boring, drilling. |  |
| The soil investigation report must be done by an accredited Geotechnical Engineer. |  |
| Geotechnical and Evaluation Report The Contractor shall prepare the geotechnical report & analysis in three (3) bound copies in a form and substance to be submitted to the Embassy within Twenty (20) calendar days upon receipt of the Notice to Proceed. The final report shall not be limited to the following: - Field Investigation and Methodology - Borehole Drilling and Sampling - Laboratory Testing - Final Boring Logs (BL) - Final Laboratory Test Results (FLTR) - Borehole Location Plan - Soil Profile along structures showing boring/drilling logs - Soil Liquefaction investigation Report - Soil Bearing Capacity - Recommendation if called for such as type of measure/structure of work. |  |
| Other Data To Be Submitted - Boring Logs - Job, boring, hole number, date, time, boring/drilling, foreman, supervisor. - Weather condition - Depth of boring at start of day - Water level in casing at start of day - method of penetration and flushing system - Description of soil strata encountered - Depth of soil boundaries - Size, type and depth of samples and sample number - Type and depth of in-situ test - Standard Penetration Test Resistance, "N" value - Recovery ratios of samples - Detailed notes on boring/drilling procedure, casing sizes and resistance to driving, description of wash water or spoil from boring/drilling tools. - Depth of boring at end of day - Other relevant information such as Rock Quality Designation (RQD), percent core recovery, angle of friction etc. - Photographs Photographs showing the borehole drilling and sampling at each proposed sites shall be taken by the Contractor and incorporated in the report. Photographs shall be taken at each borehole location depicting the following: - Equipment Used - Core drilling operation - Water level measurements - Performance of Standard Penetration Test (SPT) and Shelby tube sampling - All cores in the core boxes, SPT and Shelby tube samples - Date photographs was taken |  |
| Contractor's Obligations The Contractor shall: - Provide all necessary materials, labor, and tools to complete the project. - Ensure that skilled and experienced craftsmen will undertake the geotechnical investigation/soil boring tests to assure first class quality, appearance and durability of the completed work. - Should conform with national laws, local ordinances and building rules and regulations. - Conduct an ocular inspection of the site at the Contractor's expense. - Secure and pay for all the necessary permits, licenses, clearances and other documents as required by the Thai laws and its rules and regulations, and bear all costs, duties, fees and other charges thereof. - Supply materials and labor deemed necessary to complete the works which were inadvertently included in the specifications, drawings or in other contract documents, without extra cost to the Embassy. Such materials shall be of the highest quality available, and installed or applied to the satisfaction of the Philippine Embassy. - Provide a team of licensed professionals to supervise daily the work progress at the site and submit weekly progress/accomplishment reports with photographs to the Property Officer copy furnished the on-site representative. The said Geotechnical Engineer will be the Safety Officer to check, implement and monitor safety precautions during soil assessment. - Provide a minimum of five (5) hard and soft copies of complete requirements needed. - Provide to all project personnel, present on site, to include but not limited to, safety shoes, hardhat, gloves, goggles, harness, reflectorized vest, boots, identification cards, and uniforms for each personnel during the construction period to ensure safety at all times. - Shall be solely liable and responsible for the protection, security and safety of his/her personnel, third parties, equipment, installation, the public, and the like. - Provide necessary protection, including sheet piles, barricades, sufficient warning lights, danger signals, and other signs, if needed, against harm or damage to adjacent properties, persons, shrubs, trees, lawns, structures, and utilities therein. - Ensure that the permanent connections to the local utility lines for water, drainage, electrical and sewer lines including materials, equipment, facilities, fees, and/or work are in proper working order. - Be liable for any direct or indirect loss or damage to the Embassy as a result of gross negligence or willful misconduct on the part of the Contractor, or on the part of any person or firm acting on behalf of the Contractor, in carrying the project. The Contractor shall be responsible for the repair, restoration and the charges, fees or costs incurred due to damages or loss. - Comply with and strictly observe all laws on workers' health and safety, welfare, compensation for injuries. - Comply with the minimum wages, working hours and other laws relative thereto. Solely responsible for the assessment personnel's work at night, on Sundays, Holidays and Overtime shall be strictly governed by pertinent laws and regulations. Costs and expenses associated shall be paid by the Contractor and to be included in the bid offer. - Properly dispose all waste at the end of the day to prevent fire hazards. - Provide barracks bunk houses for temporary shelter and or sleeping quarters for personnel. It must be properly maintained for the duration of the project. - Provide temporary sanitary facilities such as toilets and lavatories for use during construction period. It shall be maintained at all times until completion of the project. - Remove and dispose, upon completion of work, storage, bunk houses, staging, equipment, scraps and debris on adjacent surfaces and clean the entire project site. |  |
| The Contractor shall provide one (1) year warranty on service rendered. |  |
| The Contractor will be implemented in the issuance of the Notice to Proceed. |  |
| GRAND TOTAL in THB | THB |

(Amount in Words) ________________________________________________________________________________________________________________________________________________

The above-quoted prices are inclusive of all costs and applicable taxes.

Very truly yours,

___________________________________

Name of Company

___________________________________

Name/Signature of Representative

__________________________________

Contact No.